## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 022-2019 1st Ed
ANSI/ASB 022-2019 First Edition
Standard for Forensic DNA Analysis Training Programs
Discipline: | Biology/DNA
Checklist version: | V1.2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
Personnel | 4.1 | Section Title
General | 4.1.1 | Requirement | All DNA laboratory personnel shall have successfully completed training prior to participating in DNA analysis and data interpretation.
Training Program Coordinator | 4.1.2 | Requirement | The laboratory or multi-laboratory system may have an individual to oversee the DNA training program under the direction of the DNA technical leader. The DNA technical leader is responsible for the administration of the training program.
Personnel with Previous DNA Experience | 4.1.3 | Requirement | Individuals with documented previous experience and training in forensic DNA analysis may be exempted from portions of the training program. The DNA technical leader shall be responsible for assessing an individual’s previous training and ensuring that it is adequate and documented.
New DNA Processing, Data Interpretation, and Statistical Analysis Methods | 4.1.4 | Requirement | When a new DNA processing, data interpretation, or statistical analysis method is incorporated into the laboratory’s protocols, all personnel responsible for performing the method shall successfully complete training and competency testing prior to performing DNA analysis, data interpretation or statistical analysis. NOTE For DNA personnel who had an integral role in the validation sufficient to master the technical skills, concepts, and knowledge pertaining to the validation, the technical leader may allow the validation to serve as the competency test in this method of DNA analysis. The DNA technical leader shall document the level of involvement of the individual in the validation to indicate how it applies to the individual’s job responsibilities.
Training Program | 4.2 | Section Title
General | 4.2.1 | Requirement | The laboratory shall have a written training program that provides trainees with the appropriate knowledge, technical training, and practical experience to perform their job responsibilities as they apply to DNA analysis (as previously defined) performed by the laboratory. Prior to implementation, the DNA training program shall be approved by the DNA technical leader and any management staff required by laboratory policy.
Content | 4.2.2 | Requirement | At a minimum, the training program shall include the following topics as they apply to the work conducted by the laboratory and by the individual in training. a) Expectations for satisfactory progression through the training program and performance on competency test(s). b) General operation of the forensic laboratory. c) The laboratory’s quality management program. d) Laboratory safety. e) Applicable validations (developmental and/or internal validations to include the design and scope). f) Applicable software. g) Lectures and practical exercises of evidence handling and chain of custody. h) Lectures and literature review on the theoretical and scientific basis of forensic DNA analysis. i)Practical instruction and observation of the technologies, methodologies, and platforms used in the laboratory. j) Practical exercises in the technologies, methodologies, and platforms used in the laboratory on samples representative of the range, type and complexity analyzed by the laboratory. k) Lectures and practical exercises in data interpretation and statistical analysis. l) Lectures and practical exercises in report writing. m) Lectures and practical exercises in technical and administrative reviews. n) Lectures on cognitive bias in decision-making processes associated with forensic DNA analysis. o) Lectures on all applicable laws and regulations. p) Lectures including limitations of methods and selection of methods. q) Lectures and practical exercises in testimony as an expert witness. r) Lectures on ethics. s) Lectures on how to conduct a validation.
Documentation of Required Portions of the Training Program | 4.2.3 | Requirement | The training program shall be tailored, as applicable, to the trainee’s specific job responsibilities and the extent to which the trainee will participate in DNA analysis and data interpretation. The DNA technical leader shall document which portions of the training program are specific to the trainee’s job responsibilities.
Administration of the Training Program | 4.2.4 | Requirement | The training program shall be administered by the DNA technical leader. Internal training shall be performed by the DNA technical leader or a qualified analyst(s) or technician(s) designated by the DNA technical leader. External training shall be pre-approved by the DNA technical leader. External training activities shall be documented in the trainee’s training records. The documentation shall include the DNA technical leader’s review of the external training.
Revisions to the DNA Training Program | 4.2.5 | Requirement | Any revision to the DNA training program shall be approved by the DNA technical leader and any management staff required by laboratory policy, prior to implementation by the laboratory.
New DNA Analysis, Data Interpretation, and Statistical Analysis Methods | 4.2.6 | Requirement | Any new DNA processing, data interpretation, or statistical analysis method approved and implemented by the laboratory shall be incorporated into the laboratory’s training manual.
Re-training of Previously Qualified Laboratory Personnel | 4.2.7 | Requirement | In the event that a previously qualified individual requires re-training, the DNA technical leader shall evaluate the knowledge-based or technical areas requiring improvement and determine the appropriate re-training and competency testing to be completed. The individual shall successfully complete the re-training and assigned competency test(s) in order to resume the applicable job responsibilities.
Competency Testing | 4.3 | Section Title
General | 4.3.1 | Requirement | Prior to performing work in any area of the knowledge-based or technical areas of the training program, the trainee shall successfully complete the competency test(s). The assigned competency testing shall be based on the individual’s job responsibilities and the extent to which they will participate in DNA analysis or data interpretation. The competency test(s) shall establish that the trainee has the knowledge, skill, and ability required to perform the assigned job responsibilities.
Required Testing | 4.3.2 | Requirement | Prior to performing DNA analysis or data interpretation, the trainee shall successfully complete the following knowledge-based and technical competency tests, as they apply to the assigned job responsibilities. a) Written and/or practical competency test(s) as indicated below covers, at a minimum, the following areas: 1) theoretical and scientific basis of forensic DNA analysis – written test; 2) laboratory’s analytical procedures performed on samples representative of the range, type, and complexity typically analyzed by laboratory – practical test; 3) data interpretation – written and practical tests; 4) statistical analysis – written and practical tests; 5) report writing – written and practical tests; 6) technical review – practical test; 7) ethics – written test; 8) cognitive bias – written test. b) An oral competency test(s) to demonstrate an understanding of ethics and the scientific basis of forensic DNA analysis. The oral competency test shall be designed to demonstrate that the trainee can explain the DNA analysis and data interpretation procedures and statistics used by the laboratory to both a layman and a scientific expert for positions where testimony may be required. The oral assessment shall include a mock trial exercise in addition to any other laboratory-specified requirements.
Administration of Competency Tests | 4.3.3 | Requirement | Competency tests may be administered as individual tests for each assigned area of the training program or combined into more comprehensive tests. Competency tests shall be assembled, issued, and assessed internally. The DNA technical leader shall approve all competency tests prior to administration to the trainee.
Assessment of Competency | 4.3.4 | Requirement | All competency tests shall be graded as either satisfactory or unsatisfactory according to laboratory policy. The laboratory shall maintain written criteria for passing a competency test. Personnel cannot perform tasks related to casework or databasing until they achieve a satisfactory rating on their corresponding competency test. The DNA technical leader shall evaluate and document the results of all competency tests. Competency test results shall be reviewed with the trainee, the trainer(s), and the trainee’s supervisor.
Re-testing Within a Training Program | 4.3.5 | Requirement | In the event that an individual needs to be re-tested to demonstrate competency, the DNA technical leader shall evaluate the knowledge-based or technical areas requiring improvement and determine the appropriate additional training necessary for the individual to demonstrate competency. Following completion of that training, the individual shall demonstrate competency in order to initiate or resume the applicable job responsibilities.
Acknowledgement of Competency | 4.3.6 | Requirement | Prior to the trainee performing casework or databasing, the DNA technical leader shall document that the trainee has successfully completed the training program and the competency test(s).
Conformance | 5 | Requirement | In order to demonstrate conformance with this standard, the laboratory shall have the following. a) A documented training program which includes the following. 1) A written training manual covering all validated technologies and methodologies currently used by laboratory as well as all of the DNA analytical procedures to be performed by laboratory personnel. 2) Documentation of the knowledge and technical skills required to perform DNA analysis. 3) Documentation of the training activities and competency testing to be completed prior to performing DNA analysis. b) Documented approval of the training program by the DNA technical leader and any other laboratory management staff as required by laboratory policy prior to implementation by the laboratory. c) Records of successful completion of training activities and competency test(s) for each trainee prior to performing DNA analysis and data interpretation. The records shall be specific as to the individual’s job function and the extent to which they will participate in DNA analysis and data interpretation. The records shall include any modifications made to the individual’s training plan and documented approval of the modifications by the DNA technical leader. All training activities for each trainee shall be documented and records retained. The DNA technical leader and laboratory management, as applicable, shall review and approve the training records for completeness. d) Documented acknowledgement from the DNA technical leader that each individual has demonstrated the knowledge, skills, and ability to perform the assigned job responsibilities as they apply to DNA analysis or data interpretation.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics