## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## OSAC Proposed Std 2022-S-0012
OSAC 2022-S-0012, Version 2.0
Standard for Proficiency Testing in Friction Ridge Examination
Discipline: | Friction Ridge
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
General Requirements | 4 | Section Title
Test Selection | 4.1 | Section Title
Test Selection | 4.1.1 | Requirement | Tests shall be selected which have been developed and validated in accordance with the requirements set forth in this Standard (Sections 4.2 and 4.3).
Test Selection | 4.1.2 | Requirement | Where available and appropriate for the job function(s) being tested, tests shall be obtained from an external source through participation in a proficiency testing program offered by a provider accredited to the ISO/IEC 17043 international standard.
Test Selection | 4.1.3 | Informational Text | Where not available or not appropriate for the specific job function(s) being tested, tests may be obtained from an external source through participation in an interlaboratory comparison or developed internally by the FSP through participation in an interlaboratory comparison or intralaboratory comparison.
Test Development | 4.2 | Section Title
Test Development | 4.2.1 | Requirement | Tests shall be developed to assess the performance of the FSP as it relates to all major job functions performed by the FSP. These areas may include but are not limited to the following:
Test Development | 4.2.1.1 | Informational Text | Detection of friction ridge impressions through optical, physical, and chemical processing/development techniques.
Test Development | 4.2.1.2 | Informational Text | Preservation of friction ridge impressions through photography and/or digital capture.
Test Development | 4.2.1.3 | Informational Text | Enhancement of friction ridge impressions through digital processing.
Test Development | 4.2.1.4 | Informational Text | Recording exemplar impressions.
Test Development | 4.2.1.5 | Informational Text | Examination (Analysis, Comparison, and Evaluation) of friction ridge impressions, including scenarios involving:
Test Development | 4.2.1.5.1 | Informational Text | Potential donor sources selected arbitrarily.
Test Development | 4.2.1.5.2 | Informational Text | Potential donor sources selected as a result of their similarity to one another, such as being derived from the result of an Automated Biometric Identification System (ABIS) search of the unknown impression.
Test Development | 4.2.1.6 | Informational Text | Encoding, searching, and retrieving friction ridge impressions using ABIS.
Test Development | 4.2.2 | Requirement | The extent to which a test sample is representative of casework shall be documented as it relates to the types, qualities, and conditions of the test specimens for the job functions being tested. Methods used to measure and assess the representativeness of the test sample to casework shall be documented and can range from subjective assessment by expert(s) to more objective approaches such as expert consensus panels or automated software. Statistical analyses appropriate for the type of data generated from the measurements should be used to demonstrate the extent to which the test sample compares to casework. NOTE 1: The OSAC Friction Ridge Subcommittee Proposed Best Practice Recommendations for Analysis and Comparison & Evaluation provide recommendations related to categorizing the quality of friction ridge detail/features, complexity (of an Impression), and complexity (of a Comparison) through observation. NOTE 2: Objective methods, such as automated software (where appropriate) or expert consensus panels, are more robust than subjective methods for assessing representativeness of test samples to casework.
Test Development | 4.2.3 | Recommendation | Test samples should include a variety of different substrate types (e.g., porous, non-porous, semi-porous, curved, pliable), friction ridge development techniques (e.g., optical, chemical, and physical processes), and deposition matrices (e.g. sweat, oils, blood, livescan, ink).
Test Development | 4.2.4 | Requirement | Tests shall include response choices which allow for the full range of association and non-association source conclusions that can be encountered in casework. At a minimum, tests shall include response choices which include source conclusions representing the strongest support for same sources (e.g., source identification), the strongest support for different sources (e.g., source exclusion), and insufficient support for a stronger source conclusion (e.g., inconclusive). NOTE: The OSAC Friction Ridge Subcommittee Proposed Standard for Friction Ridge Examination Conclusions provides qualitative expressions for the range of conclusions that may be reached following friction ridge comparisons.
Test Development | 4.2.5 | Recommendation | Test samples should only include impressions for which the ground truth state is known. NOTE: Knowledge of ground truth is more robust and enables performance to be measured in terms of both accuracy and consistency. Ground truth is essential for measuring accuracy; however, ground truth is not necessary for measuring consistency between participants through participation in proficiency testing programs or other interlaboratory comparisons or intralaboratory comparisons. In circumstances where it is impractical to create suitable test specimens for which ground truth is known, casework samples can be used to assess performance in terms of consistency and agreement with assigned values.
Test Development | 4.2.6 | Requirement | Test specimens shall each have an assigned value for which participant results are expected to conform and performance is evaluated. Criteria for determining the assigned values shall be documented, appropriate for the performance characteristic being measured (e.g., accuracy and/or consistency), and based on observable or measurable attributes of the test specimens (e.g., quality and quantity of friction ridge detail/features). Where applicable to the job function being tested (e.g., examination of friction ridge impressions), the observable or measurable attributes of the test specimen to support a source conclusion should conform to those criteria established by a national standard or consensus body recognized by the OSAC. NOTE: Knowledge of ground truth for test specimens is not always sufficient for determining the assigned value. For tests designed to assess performance related to examination of friction ridge impressions, test specimens might be known to have come from same (or different) sources but lack sufficient observable or measurable attributes to support a strong source conclusion (e.g., source identification or source exclusion). In these circumstances, a response choice indicating insufficient support for a stronger source conclusion (e.g., inconclusive) can be the assigned value.
Test Development | 4.2.7 | Requirement | Neither the ground truth nor assigned values for test specimens shall be disclosed to the participants to which the test is administered until after the test is completed.
Test Validation | 4.3 | Section Title
Test Validation | 4.3.1 | Requirement | Tests shall be validated prior to administration to participants.
Test Validation | 4.3.1.1 | Recommendation | Tests obtained from external sources should include a description of how the tests were developed and validated in accordance with the requirements specified in Sections 4.2 and 4.3 of this Standard, to allow the FSP to verify conformance to this Standard and serve as evidence of conformity. Documentation of the validation completed by the external provider can serve as evidence of conformity.
Test Validation | 4.3.1.2 | Requirement | Tests developed by the FSP or tests obtained from external sources that do not include a description of how the tests were developed and validated in accordance with the requirements specified in Sections 4.2 and 4.3 of this Standard shall be validated by the FSP to verify conformance to this Standard. Documentation of the validation completed by the FSP can serve as evidence of conformity.
Test Validation | 4.3.2 | Requirement | Test validation shall include the following:
Test Validation | 4.3.2.1 | Requirement | Ensuring that test samples are representative of those encountered in casework as it relates to the types, qualities, and conditions of the test specimens for the job functions being tested.
Test Validation | 4.3.2.2 | Requirement | Verification that the test can be completed using the materials included in the test by pre-distribution administration of the test to participants independent of the test development and in the same conditions as the proposed test. NOTE: For tests developed or validated by the FSP, the personnel participating in the pre-distribution administration of the test can be internal or external to the FSP.
Test Validation | 4.3.2.3 | Requirement | Verification that the pre-distribution test results correspond to the assigned values.
Test Validation | 4.3.3 | Requirement | The results of the validation—with sufficient detail to demonstrate that the test conforms to the requirements set forth by this Standard—shall be documented and maintained by the FSP.
Test Administration | 4.4 | Section Title
Test Administration | 4.4.1 | Requirement | The FSP shall be responsible for ensuring the test has been validated prior to distribution. Documentation verifying the test has been developed and validated in accordance with the requirements specified in Sections 4.2 and 4.3 of this Standard shall be obtained or produced by the FSP prior to test administration. This applies to tests developed internally or obtained from external sources.
Test Administration | 4.4.2 | Requirement | All FSP personnel shall participate in at least one proficiency testing program, interlaboratory comparison, or intralaboratory comparison annually.
Test Administration | 4.4.3 | Requirement | Tests shall only be administered to FSP personnel approved to perform independent casework.
Test Administration | 4.4.4 | Requirement | Tests shall be administered in conditions reflecting casework (e.g., environmental conditions, equipment, time constraints) and in accordance with applicable FSP policies and procedures.
Test Administration | 4.4.5 | Requirement | Tests shall be administered such that the results produced by individual FSP personnel are their own and not influenced by other participants, such as through Consultation, prior to Verification or Technical Review. NOTE: This does not preclude participants from using tools or equipment (including automated comparison software or statistical models) that are otherwise available and permissible for use in normal casework.
Test Administration | 4.4.6 | Recommendation | Tests should be administered such that participants are not exposed to cues—no matter how subtle—that may hint at or guide them to the expected results without direct examination of the test specimen. NOTE: Subtle cues can be unintentionally introduced or inferred by the design or administration of a single test or patterns that emerge from a sequence of tests (see e.g., OSAC Technical Series 004: Human Factors in Validation and Performance Testing of Forensic Science -- https://doi.org/10.29325/OSAC.TS.0004).
Test Administration | 4.4.7 | Informational Text | Tests may be administered in one of two formats:
Test Administration | 4.4.7.1 | Informational Text | Non-blind testing: Participants are aware they are being tested.
Test Administration | 4.4.7.2 | Informational Text | Blind testing: Participants are not aware they are being tested. NOTE: Blind testing is more robust than non-blind testing.
Evaluation of Performance | 4.5 | Requirement
Evaluation of Performance | 4.5.1 | Requirement | The FSP shall have established criteria for evaluating acceptable performance as it relates to both the individual FSP personnel and overall FSP quality system. Methods used to evaluate performance shall be documented and include statistical analyses appropriate for the evaluation. These criteria and methods shall be documented prior to test administration and address:
Evaluation of Performance | 4.5.1.1 | Requirement | Agreement of participant results to the assigned values.
Evaluation of Performance | 4.5.1.2 | Requirement | Sufficient documentation of observed data to support the participant’s results.
Evaluation of Performance | 4.5.1.3 | Requirement | Completion of the test in accordance with applicable FSP policies and procedures. NOTE 1: Acceptable performance can allow for deviations from the assigned values provided the extent of allowable deviations are documented prior to test administration and bounded within the range of acceptable results that are normally permissible under casework conditions. NOTE 2: Performance of individual FSP personnel is evaluated based on the results produced prior to the application of quality controls involving influence by other participants, such as Verification or Technical Review. Performance of the overall FSP quality system is evaluated based on the results produced after the application of quality controls involving influence by other participants, such as Verification or Technical Review.
Evaluation of Performance | 4.5.2 | Requirement | Cause analysis shall be performed when a result is generated during the test that does not correspond to the assigned value or exceeds the range of acceptable results. Corrective actions shall be taken where appropriate. NOTE: Cause analysis can include consideration of factors related to the environment, facilities, equipment, examination method, policies and procedures, training, and skills or abilities of the FSP personnel.
Documentation of Records | 4.6 | Section Title
Documentation of Records | 4.6.1 | Requirement | The FSP shall have a procedure to maintain records documenting the following as it relates to the selection, development, validation, and administration of the test, as well as evaluation of the results in accordance with the requirements and recommendations set forth in Sections 4.2 through 4.5 of this Standard:
Documentation of Records | 4.6.1.1 | Requirement | The identity of the Proficiency Testing Program Manager responsible for the selection, administration, and evaluation of tests within the FSP. NOTE: The proficiency testing program manager can be a Quality Assurance Manager, Supervisor, or otherwise designated FSP personnel.
Documentation of Records | 4.6.1.2 | Requirement | The source of the test (for tests obtained from external sources) or identity of the personnel responsible for developing the test along with their qualifications (for tests developed internally).
Documentation of Records | 4.6.1.3 | Requirement | The job function(s) tested.
Documentation of Records | 4.6.1.4 | Requirement | Assurance that the test has been developed and validated in accordance with the requirements set forth in Sections 4.2 and 4.3 of this Standard.
Documentation of Records | 4.6.1.5 | Requirement | A description of the types of substrates included in the development of the test.
Documentation of Records | 4.6.1.6 | Requirement | A description of the development techniques included in the development of the test.
Documentation of Records | 4.6.1.7 | Requirement | A description of the deposition matrices of the test samples included in the development of the test.
Documentation of Records | 4.6.1.8 | Requirement | A description of the scenario(s) presented in the test, including any supplemental background or contextual information.
Documentation of Records | 4.6.1.9 | Requirement | Criteria for determining the assigned values for each test specimen.
Documentation of Records | 4.6.1.10 | Requirement | Assurance that the personnel participating in the pre-distribution administration of the test is qualified to validate the job function evaluated by the test.
Documentation of Records | 4.6.1.11 | Requirement | A list of the FSP personnel to which the test was administered.
Documentation of Records | 4.6.1.12 | Requirement | The date the test was administered to participant(s) and the date the test was completed by the participant(s).
Documentation of Records | 4.6.1.13 | Requirement | Conditions under which the test was administered to the participants.
Documentation of Records | 4.6.1.14 | Requirement | Format of the test administered to the participants (non-blind or blind).
Documentation of Records | 4.6.1.15 | Requirement | Participant responses.
Documentation of Records | 4.6.1.16 | Requirement | Criteria for acceptable performance as it relates to:
Documentation of Records | 4.6.1.16.1 | Requirement | Individual FSP personnel.
Documentation of Records | 4.6.1.16.2 | Requirement | Overall FSP quality system.
Documentation of Records | 4.6.1.17 | Requirement | Results of participant performance as it relates to:
Documentation of Records | 4.6.1.17.1 | Requirement | Individual FSP personnel.
Documentation of Records | 4.6.1.17.2 | Requirement | Overall FSP quality system.
Documentation of Records | 4.6.1.18 | Requirement | Cause analysis and applicable corrective action(s).
Documentation of Records | 4.6.2 | Requirement | Documentation shall be sufficient to enable a third party to interpret and evaluate the robustness of the development, validation, administration, and evaluation of the test used to assess the performance of the FSP personnel and quality system overall.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics