## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 152-2021 1st Ed
ANSI/ASB 152-2021 First Edition
Standard for the Minimum Content Requirements of Forensic Toxicology Procedures
Discipline: | Toxicology
Checklist version: | V1.3
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements for SOP Content | 4 | Section Title
General Requirements | 4.1 | Requirement | All SOPs, however named, shall include the headings (or an equivalent) and related details (or refer to an applicable document) in sections 4.2 through 4.14. The order of presentation is not mandated.
Requirements for SOP Content | 4.2 | Requirement | Title
Requirements for SOP Content | 4.3 | Requirement | Purpose and Scope An abstract that describes the intent of the procedure and, as applicable, the biological specimen, sample preparation, extraction technique(s), analytical methodology, and the qualitative and/or quantitative nature of the procedure.
Requirements for SOP Content | 4.4 | Requirement | Limitations A description of known matrix interferences, drug interferences, cross reactivities, and any other factors identified during validation conducted following ANSI/ASB Standard 036, Standard Practices for Method Validation in Forensic Toxicology.
Requirements for SOP Content | 4.5 | Requirement | Specimen Criteria A description of specimen type(s), volume, and any required preservation.
Requirements for SOP Content | 4.6 | Requirement | Safety A list of applicable precautions for the mitigation of chemical, biological, physical, or radiological hazards.
Requirements for SOP Content | 4.7 | Requirement | Equipment A list of instrumentation/equipment, supplies, chemicals (grade and/or minimum purity), reagents (preparation, storage, expiration, and precautions), and reference materials (as defined in the ANSI/ASB Standard 017, Standard Practices for Measurement Traceability in Forensic Toxicology) necessary to perform the procedure.
Requirements for SOP Content | 4.8 | Requirement | Sample Preparation and Procedure Step-by-step instructions for sample preparation and analysis. This may include the preparation of calibrators, controls, and samples (e.g., homogenization, dilution, hydrolysis), extraction, derivatization, and reconstitution.
Requirements for SOP Content | 4.9 | Requirement | Performance Characteristics Description of limit of detection (LOD), lower limit of quantitation (LLOQ), decision point, and working range, if applicable.
Requirements for SOP Content | 4.1 | Requirement | Analytical Parameters (as applicable)
Requirements for SOP Content | 4.10.1 | Requirement | Non-instrumental Method—The critical observation(s) and how results are recorded.
Requirements for SOP Content | 4.10.2 | Requirement | Instrumental Method—A description of the analytical parameters (chromatographic conditions and detector settings) to include calibration model and weighting, as appropriate.
Requirements for SOP Content | 4.11 | Requirement | Data Analysis
Requirements for SOP Content | 4.11.1 | Requirement | Computations—Any manual calculations that shall be performed as part of the analytical procedure (e.g., dilution factor, unit conversion, standard addition).
Requirements for SOP Content | 4.11.2 | Requirement | Acceptance Criteria—A description of the acceptance criteria for the following: - Calibrators, controls, and internal standards as identified in ANSI/ASB Standard 054, Standard for a Quality Control Program in Forensic Toxicology Laboratories. - Analyte identification (e.g., library score, chromatography, retention times, abundance, ion ratios). - Other parameters (e.g., calibration point exclusion, coefficient of determination, carryover, precision variance in casework replicates) as identified in ANSI/ASB Standard 036, Standard Practices for Method Validation in Forensic Toxicology.
Requirements for SOP Content | 4.12 | Requirement | Corrective Measures A description of actions taken (e.g., dilution, re-extraction, re-injection) when acceptance criteria are not met as identified in section 4.11.2.
Requirements for SOP Content | 4.13 | Requirement | Reporting A description of how results and uncertainty of measurement (as applicable) are reported (e.g., units of measure, significant figures, dilution factors, truncating/rounding rules, qualitative terminology), as specified in ANSI/ASB Standard 053, Standard for Report Content in Forensic Toxicology.
Requirements for SOP Content | 4.14 | Requirement | References A list of pertinent publication(s) used to formulate the procedure.
Document Control | 5 | Requirement | The effective date, approving authority, and pagination (x of y) are required.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics