## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. To use a checklist properly, you will need to have a copy of the standard itself. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E2451-21
ANSI/ASTM E2451-21
Standard Practice for Preserving Ignitable Liquids and Ignitable Liquid Residue Extracts from Fire Debris Samples
Discipline: | Fire Debris & Explosives
Checklist version: | V1.1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Materials | 6 | Section Title
Materials | 6.1 | Requirement | Preservation Container Preservation containers are tightly sealed, volatile-free, and chemically inert to the sample. An example of a suitable preservation container is a crimp-top glass vial with intact polytetrafluoroethylene (PTFE) lined seal.
Materials | 6.2 | Requirement | Adsorption Media Activated charcoal strips or loose activated carbon or equivalent.
Procedure | 7 | Section Title
Passive Headspace Concentration with Activated Charcoal (Practice E1412) | 7.1 | Section Title
Adsorbent-Strip Adsorption | 7.1.1 | Section Title
Adsorbent-Strip Adsorption | 7.1.1.1 | Informational Text | Activated charcoal strips are utilized either in their entirety, or they are divided before or after adsorption, but prior to elution.
Adsorbent-Strip Adsorption | 7.1.1.2 | Requirement | If a single strip, or a single portion of a strip, is utilized, after analysis, preserve the extract by adsorbing it onto adsorption media (original or new) via solvent evaporation, and preserve the adsorption media in a preservation container. (Warning—Components of ignitable liquid residues that have similar volatility to the solvent can be lost during solvent evaporation.)
Adsorbent-Strip Adsorption | 7.1.1.3 | Requirement | If two strips, or two portions of a strip, are utilized, use one strip, or one portion of a strip, for elution and analysis, and preserve the second strip, or second portion of a strip, in a preservation container. NOTE 1: This procedure requires that both strips, or both portions of a strip, are adsorbed simultaneously.
Adsorbent Package Adsorption | 7.1.2 | Section Title
Adsorbent Package Adsorption | 7.1.2.1 | Requirement | After elution and analysis, preserve the extract by adsorbing it onto adsorption media (original or new) via solvent evaporation, and preserve the adsorption media in a preservation container. (Warning—Components of ignitable liquid residues that have similar volatility to the solvent can be lost during solvent evaporation.)
Dynamic Headspace Concentration and Static Headspace Concentration (Practices E1413 and E3189) | 7.2 | Section Title
Activated Carbon or Equivalent with Solvent Desorption | 7.2.1 | Requirement | After analysis, preserve the extract by adsorbing it onto adsorption media (original or new) via solvent evaporation, and preserve the adsorption media in a preservation container. (Warning—Components of ignitable liquid residues that have similar volatility to the solvent can be lost during solvent evaporation.)
Tenax TA or Equivalent with Thermal Desorption | 7.2.2 | Requirement | Extracts obtained using this process are consumed during analysis and are not amenable to preservation. Consider an alternative process if the preservation of extracts is required.
Solvent Extraction (Practice E1386) | 7.3 | Section Title
Solvent Extraction (Practice E1386) | 7.3.1 | Requirement | After analysis, preserve the extract, or a portion of the extract, by adsorbing it onto adsorption media, and preserve the adsorption media in a preservation container.
Solvent Extraction (Practice E1386) | 7.3.2 | Requirement | Preserve any remaining extract liquid phases in a preservation container.
Liquid Samples | 7.4 | Section Title
Liquid Samples | 7.4.1 | Requirement | After analysis, preserve the liquid, or a portion of the liquid, in a preservation container.
Liquid Samples | 7.4.2 | Requirement | Alternatively, preserve a portion of the liquid by adsorbing it onto adsorption media, and preserve the adsorption media in a preservation container.
Static Headspace and SPME (Practices E1388 and E2154) | 7.5 | Section Title
Static Headspace and SPME (Practices E1388 and E2154) | 7.5.1 | Requirement | While these sampling techniques are considered non-destructive to the original fire debris sample, the extracts obtained are consumed during analysis and are not amenable to preservation. Use an additional or alternative technique if the preservation of extracts is required.
Storage | 8 | Section Title
Storage | 8.1 | Requirement | Label all preservation containers as evidence and in accordance with Guide E1459.
Storage | 8.2 | Requirement | Document preservation of extracts in accordance with Practice E1492.
Storage | 8.3 | Informational Text | Preserved extracts are either returned to the submitter for storage with the original evidence as an attachment or enclosure, or they are catalogued and stored by the laboratory or other designee.
Storage | 8.3.1 | Informational Text | Storage conditions outside the laboratory’s control cannot be guaranteed by the laboratory.
Storage | 8.3.2 | Recommendation | Laboratories should provide the submitter or other designee with guidance regarding storage conditions.
Storage | 8.4 | Requirement | Store preserved extracts at room temperature (approximately 22 °C) or lower. (Warning—Exposure to higher temperatures can result in the evaporative loss of lower boiling compounds from a stored extract.)
Storage | 8.5 | Recommendation | When accepting a preserved extract for reanalysis, documentation relating to storage conditions and chain of custody records should be included. Such information can assist in the interpretation of the analyses of preserved extracts.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics